SOUTH FORBES GOLF CITY			  CONSTRUCTION GUIDELINES

TOKYO MANSIONS

BARANGAY INCHICAN, SILANG, CAVITE

PRE-CONSTRUCTION	Prior written approval shall be secured from the DECLARANT before any   building or facility construction, alteration and/or renovation can be started. One (1) set of blue print plans approved by the local building official shall be submitted to the DECLARANT.

CONSTRUCTION BOND	The OWNER shall pay P300,000.00 in cash/check, refundable (without interest) after the construction of the house and after the joint final inspection of the OWNER and the DECLARANT less fines and repair damages, if any.

PERMITS AND LICENSES	The OWNER shall secure his own Building Permit and all other permits, licenses and authorizations at its own expense necessary for the construction or its improvements.

SETBACK REQUIREMENTS	Front setback shall be measured three (3.00) meters from the property line to the exterior finished wall or column of the building. Side and Rear setbacks shall be measured two (2.00) meters from the property line [See Fig. 1.0]. No firewall shall be constructed on all sides.

BUILDING PROJECTION	Outside edges of roof and/ or eaves must have a maximum distance of 1.25 meter (all sides) from the exterior finished wall of the building/ structure [See Fig. 2.0]. Canopies and Porches of the building shall maintain clear distance of one (1.00) meter from the front property line [See Fig. 2.0]. Balconies projecting on the streets shall be at least 1.50 meter from the front property line [See Fig. 3.0].

HEIGHT REQUIREMENTS	Building shall not exceed twelve (12.00) meters measured vertically from the natural road level or top of the sidewalk to the highest projection or roof apex. [See Fig. 4.0].

PERIMETER FENCE	Fence along the property line facing a street should be constructed of see-through materials and shall be designed not to exceed 1.50 meter in height. Only 20% of total height will be constructed of solid materials, the remaining 80% shall be of grille work or a combination of solid and other see-through materials. Sides and Rear property walls shall have a minimum height of 1.50 meter and a maximum height of 2.00 meters, constructed of solid materials [See Fig. 4.0]

# FENCE - CONSTRUCTION AREA	All construction areas shall be fenced off (i.e. Blue sacks, etc.) along the perimeter during construction to maintain cleanliness and properly conceal all construction debris, materials, tools and equipment.  Height of the fence is two (2.00) meters from the ground level.

PARKING AREA	The parking space/s may or may not be enclosed, and each parking space shall have a minimum dimension of 2.40 meters by 5.00 meters [See Fig. 1.0]. Parking shall not be allowed on any portion of the main boulevard of South Forbes Golf City Mansions, otherwise known as Forbes Boulevard.

WATER SUPPLY PROVISION	The OWNER shall pay PHP 5,000.00 as meter and service deposit and for  the installation of water meter. The OWNER shall not put up a separate deep well system within his property.  No booster pump shall be allowed to be installed in the individual internal plumbing without an underground cistern or reservoir of adequate capacity between the main water line and the said booster pump.

## POWER SUPPLY 	The OWNER shall apply for their own power supply from Meralco.

DOMESTIC WASTEWATER 	Domestic waste shall be directly discharged to sanitary sewer main.

STORM DRAINAGE SYSTEM 	Storm water shall be directly drained to storm sewer main.

POST-CONSTRUCTION	A formal written advice to the DECLARANT of the completion of construction works and request for final inspection. One (1) set of As-Built plans shall be submitted to the DECLARANT together with the occupancy permit.

AUXILIARY STRUCTURE	The plans and specifications of any other structure, including swimming pool, decks, underground water reservoir, pergola or trellis, or any subsequent addition thereto, constructed within the property shall be subjected to the provisions of the National Building Code and such other pertinent rules and regulations and must conform to the plan required by the DECLARANT and/or the association.

TEMPORARY STRUCTURES AND		    No temporary structures and/ or facilities shall be left standing in the vicinity of CONSTRUCTION DEBRIS			    the construction. No construction debris and/ or excess  materials  shall be  left       					    anywhere  in  the  vicinity  of  the   construction  site   two  (2)   weeks  after  its 				   	    completion.

CONSTRUCTION ON A 	In the event the OWNER constructs any structure or building on the wrong lot,

WRONG LOT	the OWNER shall immediately remove said construction at its own expense, otherwise, the DECLARANT and/ or the ASSOCIATION 	shall immediately remove the same at the OWNER’S expense without the necessity of securing a court order and without incurring any criminal and/ or civil liability whatsoever on the part of the DECLARANT and/ or the ASSOCIATION or its officers and employees.

Conforme: _____________________